## Slide 1: LLC predictor
Morad Ghezaiel – Data scientist

## Slide 2: Chronic lymphocytic leukemia (CLL)
CLL
  - Most frequent leukemia
  - Prevalence: elderly
  - Early diagnostic and late treatment
  - 95% b cells, 5% t cells
Epidemiology:
  - 2:1 men/women ratio
  - Incidence : 4500 new cases /year
Etiology:
  - Alteration of b cell maturation
  - Lymphocytosis with somatic mutation
  - Abnormal expression of biomarkers
  - Factors are not well understood

## Slide 3: Diagnostic
Common blood test
Hemogram : number of B cells
Caryotype : presence of chromosomal anomalies
Immunophenotyping : expression of b cell maturation markers
Sever forms (Richeter’s syndrom) with deregulation of oncogens
Blood smear :
  - Gumprecht shadows: large nucleus due to the lack of a structural protein (vimentin)
  - Importance of early diagnostic

## Slide 4: Raman spectroscopy
Measures the molecular composition
Molecules produce vibrations that act like particules (phonons)
The sample is illuminated by a monochromatic laser beam
Photons interact with phonons (variation of wavelength)
An optical system measures the light emitted by the sample

## Slide 5: CLL and Raman spectroscopy
CLL is associated with morphological and molecular composition changements
Raman spectroscopy can be used to charcaterize lymphoid cell samples
The data is corrected for noise
Quality controlled samples are used to predict lymphoid cells counts

## Slide 6: Project
Development of a tool to help the diagnosis of CLL
Data: 33 patients with Raman spectra from B and TNK cells
The spectrometer points to three random cell areas
- Plan:
  1) Descriptive analysis of the data
  2) Quality control: results and validation
  3) Presentation of the tool

## Slide 7: Data
33 patients:
  19 healthy
  14 sick (CLL)
7197 spectra
Number of B spectra > TNK in CLL patients
 | B | TNK
Healthy | 637 | 3829
CLL | 2271 | 460
Number of spectra
 | B | TNK
Healthy | 221 | 1333
CLL | 856 | 158
Number of cells
 | B | TNK
Healthy | 11.6 | 70.1
CLL | 61.1 | 11.28
By patient number of cells (average)

## Slide 8: Data
No baseline correction is needed
Presence of low frequency components
Presence of spikes
QC should not affect by patient B/TNK ratio

## Slide 9: Periodogram
Amount of signal as a function of the frequency
Computed using Welch method
Noise is associated with constant PSD
Inflection at 2 Hz
Signal of interest corresponds to PSD above 2 Hz
2/5 = 40 % noise by spectra
QC: Filter the spectra according to log cumulated
spectral density (CSD >2 Hz) above median

## Slide 10: QC validation
Spectra yield: 3598/7197 = 50 %
QC should not affect by patient B/TNK ratio
Fisher exact test:
  Test if the filtering method is biased toward a particular cell type
 | Before | After
B | 1077 | 766
TNK | 1491 | 928
Q1 | Median | Q3
0.59 | 1.0 | 1.0
All patient
By patient
At α = 5%, the QC method does not affect B/TNK ratio

## Slide 11: Conclusion
The QC method does not affect B/TNK ratio
This is important because B cell fraction:
  - is informative of CLL
  is affected by sample preparation
  is affected by patient diversity

## Slide 12: CLL predictor
Tool to help CLL diagnosis
Performs QC, validation and displays the results
Modulation of the filtering threshold while providing validation metrics to better evaluate cell counts

## Slide 13: Thanks for your attention

## Slide 14: Sources
Wikipedia
https://www.e-cancer.fr/Patients-et-proches/Les-cancers/La-prise-en-charge-de-la-leucemie-lymphoide-chronique/Diagnostic-et-bilan-initial
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC6590062/